## Slide 1: Developing theoretical and experimental tools for a hybrid quantum simulation using trapped ions
Sainath Motlakunta
Quantum Information with Trapped Ions (QITI) Group

## Slide 2: Talk outline
Part1: Theoretical tools: A scheme to engineer programmable spin interaction graphs in a trapped ion quantum simulator.
Part2: Experimental tools: Laser frequency stabilization for ion trap experiments

## Slide 3: Trapped ions as Quantum Simulator
Long coherence times (>10 min single qubit coherence time*)
Ease of state preparation and isolation
Controlled long range interactions
Flexible fully connected graphs
Useful to simulate systems with larger number of long range interactions
*Ye Wang et al Nature Photonics 11, 646–650 (2017)
Spins
Interactions

## Slide 4: Engineer programmable spin interaction graphs
we propose a quantum simulation protocol to engineer XY spin dynamics on a 2D lattice with 1D chain of ions.

## Slide 5
Qubit
CCD image of ions
University of Maryland/JQI
ion group
Ion Quantum Simulator

## Slide 6: Normal modes of a chain of ions

## Slide 7: Phonon mediated spin-spin interactions
Global laser beams

## Slide 8: Phonon mediated spin-spin interactions

## Slide 9: Phonon mediated spin-spin interactions

## Slide 10: Phonon mediated spin-spin interactions
Cirac, Zoller PRL 4091 (1995)
Molmer, Sorensen PRL 1835 (1999)

## Slide 11: Phonon mediated spin-spin interactions

## Slide 12
Detuning
Simulate various interaction profiles by changing the detuning – restricted to only certain types of profiles

## Slide 13: Types of Quantum simulation
Analog : Not Universal, restricted to simulation of certain types of Hamiltonians
Digital : Universal, but errors in simulation due to digitization

## Slide 14: Hybrid simulation – Analog + Digital
Analog: Choose an interaction profile that can be engineered with global Raman beams. (Molmer-Sorensen scheme)
Digital: Supress unwanted interactions and scale other spin interactions by using single spin operations only
e.g., using laser induced site dependent AC stark shift

## Slide 15: Hybrid simulation – Analog + Digital
Consider a chain of ions with internal flip-flop Hamiltonian and external AC Stark shift
Created using an off-resonant laser beam with site dependent
intensity inducing a differential AC Stark shift
Created using a global Molmer-Sorensen scheme

## Slide 16
Case of 2 ions

## Slide 17
Case of 2 ions

## Slide 18
Goal

## Slide 19
Average Hamiltonian for a sequence of pulses
Supresses the interactions (i,j) where
Valid if

## Slide 20
Task : Find a solution for to simulate 2D lattices

## Slide 21
Stark shift pattern to simulate 2D lattices
Find such that

## Slide 22: Construction of pulse sequence
Fit with function
obtain optimum values of

## Slide 23
Simulating 3x2 lattice with 6 ion chain
Bond class
NoBond class
Cancelled by

## Slide 27: 3x3 lattice with 9 ions
Fit parameters

## Slide 28: 4x4 lattice with 16 ions
Fit parameters

## Slide 29: Scaling with the number of ions
For a target 2D square lattice

## Slide 30: Extension to 3D lattice
2x2x2 lattice with 8 ions

## Slide 31: Summary and Outlook
Hybrid quantum simulation protocol to simulate 2D lattices for the case of 6, 9, 16 ions
This protocol is scales linearly in number of pulses and stark shift gradient
Can be used to simulate different geometries of spin graphs
Explore additional control by dynamically changing Stark gradients

## Slide 32: Part -2
Laser frequency stabilization

## Slide 33
Qubit
Long coherence times > 10 min
Ye Wang et al Nature Photonics 11, 646–650 (2017)
Ion Quantum Simulator
CCD image of ions
University of Maryland/JQI
ion group

## Slide 34
TRAP
PREPARE
MANIPULATE
DETECT
Cool the ions to motional ground stata using Laser cooling
Optically pump ions to ground state
Time
Trapped ion Quantum Simulator
  Frequency stabilize multiple lasers
Challenge

## Slide 36: Frequency stabilization of lasers
Stabilize lasers against drift due to ambient thermal and pressure fluctuations
Line width of transitions order of few MHz
No good atomic frequency reference for ions
Solutions:
  Laser lock based on Commercial Wavemeter
  Lock based on in-house scanning Fabry Perot cavity

## Slide 37: Wavemeter lock - scheme
HighFinesse WS7 Wavemeter:
Based on Fizeau Interferometer
Range: 330 – 1100nm
Accuracy: 60 MHz
Sampling rate ~500 Hz
Acquire
Transmit
FPGA
DAC Board
760nm
935nm
369nm
399nm
DL PRO
8 Chn
optical
switch
Home
built
Multi Channel
USB
Receive
PID
Ethernet
Analog Voltage 0-10V
780nm
Stable reference for calibration

## Slide 38: Analog output board
DAC7744: 4 channel 100 ksps 16bit
Numato Mimas FPGA board: Xilinx Spartan 6 LX9
Each board has 4 Analog output channels and has unique 6 bit address set by a DIP switch

## Slide 39: Measurements
Pressure and temperature
measured from wavemeter

## Slide 40: Measurements
DLPRO 935nm laser
Locked
Unlocked
Limited by the resolution,
accuracy and response time
Of the wavemeter

## Slide 41: Cavity based frequency lock
Feedback laser to keep/constant

## Slide 42: Stability condition for the cavity
Define
Cavity stability condition:
We set
d
Kogelnik, H., & Li, T. (1966). Applied optics, 5(10), 1550-1567.

## Slide 43: Cavity construction
Concave mirrors ROC=150 mm
HR Mirrors R>99.5% @ 369nm - 925nm
Expected Finesse > 600
Endcaps: Brass (360 UM) (CTE: ~20ppm/oC )
Spacer : Quartz (CTE: ~0.5ppm/oC)
Dimensions are chosen to minimize thermal drifts
Barry, J Ph.D. thesis, Yale University (2013).

## Slide 44: Cavity mode matching

## Slide 45: Cavity measurements
Lorentzian finesse ~ 400

## Slide 46: Single transfer cavity to lock multiple lasers

## Slide 47: Summary and Outlook
Alternate schemes for laser locking using a wavemeter and a transfer cavity
Wavemeter lock has advantages of ease and scaling, but is limited by the resolution, accuracy and the sampling rate the instrument
Cavity based lock has more resolution and sampling rate but cannot make absolute frequency measurements
Combine both the schemes to obtain the advantages of both the systems.

## Slide 48: References

## Slide 49
Nikolay
Roland
Gilbert
Nikhil
Sainath
Fereshteh
Rajibul
THANK YOU

## Slide 50: Extra slides

## Slide 51: Analog Quantum Simulation
Multi frequency extension of
Mølmer-Sørensen scheme

## Slide 52
Requires individual ion addressability with various Mølmer-Sørensen beams
Optimize the values of to create arbitrary
One such optimized solution to simulate 2D lattices*
*Korenblit, S., et al. NJP 14.9 (2012): 095024

## Slide 53: Experimental parameters