## Slide 1: A compact injection-locked UV laser system for quantum information processing
Nikolay Videnov
Quantum Information with Trapped Ions (QITI) Group

## Slide 2: Talk outline
Problem we are addressing
  What is uv used for
  Simple requirements
  A survey of possible solutions with drawbacks
What is injection locking
  Surface level
  Minimal theory
  Demos of some form ? Graphs ?
Our design
  Cooling
  Challenges
Results?

## Slide 3: UV lasers
Uses
Getting UV light
  Frequency doubling Ti:sapph
    expensive
    Noisy?

## Slide 4: Injection Locking
Borad strokes injection locking
Alder equations, amplifier filter model?

## Slide 5: Physically realizing Injection Locking
Cooling considerations
Compactness?

## Slide 6: Diode Selection
Locking only happens around the free running oscillation frequency of the diode.
Need a laser diode around 369nm
The closest commercially available diode can be frequency selected to ~371nm*
*Nichia NDU4116 (370-380nm)

## Slide 7: Cooling Laser Diode
40°C below lab temperature
  Achievable with Thermoelectric Coolers (Peltier eliments)
  Dew point of water in lab is around 12°C
  Condensation and frost will form on the diode
Sealed laser enclosure for cooling
  Electrical and optical feedthrough
  Dry air inlet/outlet
  Good thermal conduction

## Slide 9: Implementation

## Slide 10: Results

## Slide 11: Results

## Slide 12: Conclusion/Outlook
Injection lock?

## Slide 13
Nikolay
Roland
Gilbert
Nikhil
Sainath
Fereshteh
Rajibul
THANK YOU